2016                                          CITY OF Auburn          Annual Report

General NPDES Permit No. GAG610000                                                                         for                                                                                                                                           Small Municipal Separate Storm Sewer Systems (MS4)

February 12, 2016

cITY OF aUBURN

P.O. Box 1059, 1369 Fourth Avenue, Auburn, GA  30011

Phase II Municipal Separate Storm Sewer System (MS4)

Annual Report Form

Cover Page

Part 1. General Information:

1.  Name of Permittee:	_____City of Auburn_______________________________

2.  Mailing Address:		_____P.O. Box 1059_______________________________

_____1369 Fourth Avenue__________________________

_____Auburn, Georgia  30011_______________________

3.  Contact Person:		_____Iris E. Akridge_______________________________

4.  E-Mail Address:		_____iakridge@cityofauburn-ga.org___________________

5.  Telephone Number:	__(770_ 963-4002 X 207____________________________

6.  Reporting Year (January 1 – December 31):	__2016_________________________

Part 2. Status of Storm Water Management Program:

1.	Has your storm water management program to comply with the 2012 NPDES Permit been approved?  Yes _X_ No ___

2.	 If yes, provide the approval date: _____________

3.	If no, provide the date of the last submittal: ________________

Part 3. Certification Statement:

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Signature:  ____________________________________________________________

Printed Name:  _________________________________________________________

Title:  __________________________________ Date:  ________________________

LIST OF ATTACHMENTS

TAB 1

- Table showing Number and Type of Stormwater Brochures Distributed from City Hall and City Library (See Tab 1)

- Listing of new businesses who received “After the Storm” brochure (See Tab 1)

- City’s web site in 2016 (See Tab 1)

- Figures showing the number of website hits (See Tab 1)

TAB 2

- Auburn Messenger (April 2016 Edition) announcing clean-up event (See Tab 2)

- Sign-in sheets for community participants (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Earth Day event (See Tab 2)

- Photographs (See Tab 2)

- Auburn Messenger (October 2016 Edition) announcing clean-up event (See Tab 2)

- Sign-in sheets for community participants (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Great American event (See Tab 2)

- Photographs (See Tab 2)

TAB 3

- Field Map and Inventory – Stormwater Features (See Tab 3)

- Spreadsheet showing all Dry Weather Outfall Screenings completed in 2016 (See Tab 3)

- Sample completed Dry Weather Outfall Screening forms for 2016 (See Tab 3)

- Spreadsheet for Illicit Discharges for 2016 (See Tab 3)

- Response emails received from Barrow County Environmental Health (See Tab 3)

- Sample complaint reports, citations and emails (See Tab 3)

- Photos (See Tab 3)

- Illegal Dumping and Burns – information and photos (See Tab 3)

TAB 4

- 2016 Development Performance Measures (See Tab 4)

- 6th. Street Park Conceptual Plan (See Tab 4)

- LDAs – 6th. Street Dog Park, Cathryn Pittman, Sunbelt Retention Pond, David Thabodeaux (See Tab 4)

- Erosion, Sedimentation & Pollution Checklist for Mary Carter Park Regional Stormwater Management Facility (See Tab 4)

- Erosion, Sedimentation & Pollution Checklist for Honeysuckle Terrace Stormwater Improvements (See Tab 4)

- Documentation of complaints received and work orders (See Tab 4)

- Stormwater Projects – dates complaints received (See Tab 4)

- Certification Spreadsheet (See Tab 4)

TAB 5

- Spreadsheet of post-construction storm water management structures inspected in 2016 (See Tab 5)

- Stormwater detention pond report of findings for structures/photos (See Tab 5)

- Pond report for Parks Mill Ballfield Structure/Other Documents (See Tab 5)

- Photos (See Tab 5)

TAB 6

- Spreadsheet showing all Dry Weather Outfall Screenings completed in 2016  (See Tab 3)

- Spreadsheet of post-construction storm water management structures inspected in 2015 (See Tab 5)

- Work Orders Completed by Public Works Department (See Tab 6)

- Trash/Roadside Cleanup Work Orders and field sheets completed by the Auburn Public Works Department and RTCs (See Tab 6)

- Detailed information on the type and amount of material collected and recycled from the Earth Day event (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Great American event (See Tab 2)

- Municipal Facility Inspection Inventory (See Tab 6)

- Municipal Facility Inspection for Public Works Facility (See Tab 6)

# Public Education and Outreach

Minimum Control Measure

(Table 4.2.1)

1.	BMP # __1___

2.	BMP Title:  __General Public______________________________________________

3.	Provide the measurable goal from SWMP: __The City continues to obtain at no-	cost brochures, magnets and fact sheets from sources like: EPA, the Pollution 	Prevention Assistance Division (P²AD) of the Georgia Department of Natural 	Resources, the Georgia Water Management Campaign and the Metropolitan 	North Georgia Water Planning District (MNGWPD).  The brochures address 	septic tanks, household waste, lawn and garden activities and the impacts each 	has on stormwater.  These brochures were distributed at City Hall, the City 	Library and at all civic events such as the Annual July 4th. Celebration.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

B. If not, explain why you did not comply with the measurable goal: __________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B. 	If not, please explain why: ___________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City continues to distribute brochures at City Hall and our City Library.  The number of brochures remaining at each location were counted on a quarterly basis.  Additional brochures were added as needed.

B.  Date(s) for any BMP activities completed during this reporting period:  A City display booth was set up during the July 4th. event.  In this booth there were additional brochures o be given out to citizens.  City Staff Members took various different times throughout the day to answer any questions.

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.  BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue __X__ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Table showing Number and Type of Stormwater Brochures Distributed from City Hall and City Library (See Tab 1)

1.	BMP # __2____

2.	BMP Title:  _Business Owners and Development Industry_________________

3.	Provide the measurable goal from SWMP: _The EPA brochures – “After the 	Storm” will be distributed to 100% of all people receiving building permits or 	business licenses renewals.

A.   Did you comply with the measurable goal?  Yes __X_ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

___________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City distributed the After the Storm brochures (along with Keep It in Your Bed…Secure Your Load brochure) to all new businesses.  In addition, a copy of the brochure was included in the mail-outs to businesses with requests for renewal of 	business licenses on November 7, 2016.  The number of After the Storm brochures distributed for commercial businesses in 2016 were 488.

B.  Date(s) for any BMP activities completed during this reporting period:  ______November 7, 2016 _______________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Listing of new businesses who received “After the Storm” brochure (See Tab 1)

1.	BMP # ___3___

2.	BMP Title:  _General Public__________________________________________

3.	Provide the measurable goal from SWMP: The City will track the number of “hits” 	to the website received each reporting period and report this number in the 	annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ___

B. If not, explain why you did not comply with the measurable goal: __________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X__ No ___

B.	If not, please explain why: _______________________________________

__________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City of Auburn’s website was under construction most of 2016.  A brand new outlook of the entire website has been formulated - all new materials, new contacts, additional information for visitors, website hits added and links to various different sites including stormwater educational brochures and other pertinent information.  A total of 6,613 recorded hits to the City’s web site occurred in late 2016. There is no separate mechanism for tracking hits to the stormwater web page.

B.  Date(s) for any BMP activities completed during this reporting period:  ______

____________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X__  No ___

D.  If not, please explain why:  ________________________________________

____________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: ___________________________________________

____________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- City’s web site in 2016 (See Tab 1)

- Figures showing the number of hits to the City’s web site in 2016 (See Tab 1)

# Public Involvement/ Participation

Minimum Control Measure

(Table 4.2.2)

1.	BMP # ___1___

2.	BMP Title:  __Earth Day Cleanup – 2016_____________________________________

3.	Provide the measurable goal from SWMP: The City will record the number of 	volunteers involved in the cleanup and the number/types of material collected.

A.   Did you comply with the measurable goal?  Yes __X_ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

___________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City held their Earth Day Cleanup event on April 15 and 16, 2016.   Residents were invited to drop off various items to prevent their materials from entering local streams.  Announcements for the event were featured in a brochure distributed at City Hall and the Barrow County Newspaper, as well as in the April 2016 Auburn Messenger which is distributed in the water bills and featured on the City of Auburn web site. Approximately 194 residents participated in the event. Nearly 20.82 tons of junk, 203 tires, nearly 1.04 tons of metal, 257 pounds of batteries, 200 gallons of used oil and 8,202 lbs. of electronics were collected and recycled.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

__April 15 and 16, 2016__________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Auburn Messenger (April 2016 Edition) announcing clean-up event (See Tab 2)

- Sign-in sheets for community participants (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Earth Day event (See Tab 2)

- Photographs (See Tab 2)

1.	BMP # __2____

2.	BMP Title:  __Great American Cleanup - 2016_____________________________

3.	Provide the measurable goal from SWMP: The City will record the number of 	volunteers involved in the cleanup and the number/types of material collected.

A.   Did you comply with the measurable goal?  Yes __X_  No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The Great American Cleanup was held on October 21 and 22, 2016.  Residents were again invited to drop off various items to prevent their materials from entering local streams. The event was advertised several ways: (1) an article was featured in the October 2016 Issue of the Auburn Messenger which was distributed in water bills as well as on the City of Auburn web page, (2) a banner was hung outside City Hall prior and during the event, and (3) brochure announcing the event was created and distributed at City Hall.  Approximately 209 people participated in the October event.  Volunteers collected 200 tires, 844 pounds of electronics; 581 lbs. of batteries, 200 gallons of used oil, and 3.194 tons of scrap metal.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

October 21 and 22, 2016__________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B. Do you plan to continue with implementation of this BMP or revise it from the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Flyer for the Two-Day Household Clean-up Event (See Tab 2)

- Auburn Messenger (October 2016 Edition) announcing clean-up event (See Tab 2)

- Sign-in sheets for community participants (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Great American event (See Tab 2)

- Photographs (See Tab 2)

# Illicit Discharge Detection and Elimination

Minimum Control Measure

(Table 4.2.3)

1.	BMP # 1 (Table 4.2.3, BMP #1)

2.	BMP Title:  __Legal Authority______________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City of Auburn will maintain an illicit discharge and illegal connection ordinance at all times for the permit.  For every year of the permit, the City will determine if revisions are necessary.  If revisions are necessary, a copy of revised ordinance will be submitted to EPD to be added to the Stormwater Management Program.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Ordinance Status

- Did you adopt or revise the ordinance during the reporting period? Yes ___      No _X_

- If yes, provide the date of adoption: _________

- If the ordinance was adopted or revised during the reporting period, is a copy of the adopted ordinance attached?  Yes ___ No ___

- If the ordinance was adopted or revised during the reporting period and a copy is not attached, explain why: ________________________________________________

______________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _Reviews of ordinance were completed and no revision were necessary during this reporting period______________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

__December 2016_______________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it from the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 2 (Table 4.2.3, BMP #2)

2.	BMP Title:  __Outfall Map and Inventory____________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City has mapped all MS4 outfalls and will provided a copy of the map and a list of all outfalls with the annual report.  An updated inventory and map along with the total number of outfalls will be provided each permit year.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Outfall Inventory

- Provide the number of outfalls identified to date: ____217_________

- Is the outfall mapping completed? Yes _X_ No ___

- If not, provide the projected completion date: _______

5.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	Implementation Schedule

A.  BMP activities completed during this reporting period:  Information was documented in the City’s GIS database for program planning and end-of-year reporting activities. This effort will continue in future years by mapping and inventorying other components of the storm sewer system such as inlets, catch basins, etc. as well as newly constructed ponds and outfalls.

B.  Date(s) for any BMP activities completed during this reporting period:  __________

____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

7.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C.  Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Field Map and Inventory – Stormwater Features (See Tab 3)

1.	BMP # 3 (Table 4.2.3, BMP #3)

2.	BMP Title:  ___IDDE Plan________________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: At least 20% of outfall inventory will be tested for dry weather outfall screening and elimination of all identified illicit discharges each year and also 100% of illicit discharges will be investigated and eliminated.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	IDDE Plan Status

- Provide the number of outfalls inspected during the reporting period: _60_

- What percentage of the total number of outfalls were inspected during the reporting period? ___27%___

C. Did you conduct any stream walks as part of your IDDE program?

Yes ___ No _X__

- If yes, provide the total number of stream miles within your jurisdiction: ____________

- Provide the number of stream miles walked during the reporting period:

______________

- What percentage of the total number of stream miles were walked during the reporting period? _________

5.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City inventoried 60 	stormwater outfalls in 2016.  The goals of 20% of all identified outfalls were met 	with no illicit discharges from dry weather outfall screenings.  Information such 	as material, condition, presence of illicit discharge, and next steps (i.e., work 	order, IDDE screening, structural repair, letter to owner, no action) were 	documented on field data sheets. Field data was entered into an excel 	spreadsheet and work orders issued for all maintenance activities as identified in 	the field inspections for each structure.

B.  Date(s) for any BMP activities completed during this reporting period:  ________ March 2016 through August 2016___________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

7.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Field Map – Stormwater Features (See Tab 3)

- Spreadsheet showing all Dry Weather Outfall Screenings completed in 2016 (See Tab 3)

- Sample completed Dry Weather Outfall Screening forms for 2016 (See Tab 3)

1.	BMP # 4 (Table 4.2.3, BMP #4)

2.	BMP Title:  __Education__________________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City’s website was modified to include a stormwater information/education page.  The stormwater page has links to stormwater educational brochures, City stormwater ordinances (Erosion & Sediment Control, Stormwater Utility and Illicit Discharge), links to appropriate state and federal agencies (EPD, EPA), and other pertinent information.  A section for reporting stormwater problems has been listed and a link for citizens to report illegal dumping, suspicious discharges, muddy waters, clogged drainage structures, flooding, stream obstructions, and structure repairs.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

- BMP activities completed during this reporting period:  The City of Auburn’s website was under construction most of 2016.  A brand new outlook of the entire website has been formulated - all new materials, new contacts, additional information for visitors, website hits added and links to various different sites including stormwater educational brochures and other pertinent information.

B.  Date(s) for any BMP activities completed during this reporting period:  _Ongoing___

___________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes ___ No _X_

D.  If not, please explain why:  _ The City of Auburn’s website was under construction most of 2016 and the amount of website visitors did not begin until the construction was completed.

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- 2016 Website Data (See Tab 1)

1.	BMP # 5 (Table 4.2.3, BMP #5)

2.	BMP Title:  ____Complaint Response_______________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City continues to accept public complaints on suspected illicit discharges.  These complaints were accepted via phone call or through e-mail to the City “Clean Waters” coordinator at (770) 963-4002 or iakridge@cityofauburn-ga.org.  The City developed and maintained a database of all illicit discharge complaints received. Information gathered for the tracking database included:

- Location of complaint

- Contact information of complainant (for additional information)

- Problems observed

- Date of problems

- Backup if available (photos)

- Dates of follow-up County actions (inspections, phone calls)

- Actions taken (warning, violation, fines)

- Date of corrected measures

The City documented and responded to 100% of all complaints received within 2 business days.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City created a complaint database and tracked all complaints received regarding illicit 	discharges, including sewage and illegal burning.   Ten (10) complaints were received by the City, one (1) complaint received through Barrow County Environmental Health in 2016.   Six (6) illegal burn warnings and one (1) illegal dumping was also observed and most were corrected immediately on site per the City’s Code Enforcement Officer.  Follow-up actions included identification of the violator(s) and seven (7) citation warnings were given out in 2016; referrals to Barrow County Environmental Health for septic tank issues were also recommended to customers. The booklet from EPA’s website on “A Homeowner’s Guide to Septic Systems” was also given out to all complaints received in the City on septic.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

___ January 2016 through December 2016 ___________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.   Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Spreadsheet for Illicit Discharges for 2016 (See Tab 3)

- Response emails received from Barrow County Environmental Health (See Tab 3)

- Sample complaint reports, citations and emails (See Tab 3)

- Photos (See Tab 3)

- Illegal Dumping and Burn – information and photos (See Tab 3)

# Construction Site Storm Water Runoff Control

Minimum Control Measure

(Table 4.2.4)

1.	BMP # 1 (Table 4.2.4, BMP #1)

2.	BMP Title:  _Legal Authority_______________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: An ordinance for Erosion and Sediment Control was adopted by the City in 2010.  Every year the ordinance will be reviewed to insure the City has legal authority needed to enforce the requirements of the SWMP, the ordinance empowering the City’s representative to do so and to determine if revisions are necessary; if revisions are necessary a copy will be submitted to EPD to be added to the City’s SWMP.  Discarded building materials, concrete truck washout, chemicals, litter and sanitary waste were addressed by adopting a Construction Site Waste Management Ordinance December 2013. The CSWM Ordinance will also be reviewed every year by the City for necessary revisions.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________

4.	Ordinance Status

- Is the construction waste requirement addressed in either your E&S or litter ordinance? Yes ___ No _X__ New Construction Site Waste Management Ordinance

- If yes, which one? ______________________________________

- Did you adopt or revise the ordinance during the reporting period?

Yes ___ No _X_

- If yes, provide the date of adoption: _________

- If the ordinance was adopted or revised during the reporting period, is a copy of the adopted ordinance attached?  Yes ___ No ___

- If the ordinance was adopted or revised during the reporting period and a copy is not attached, explain why: ________________________________________________

______________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _Reviewed ordinance to ensure City had legal authority for enforcement requirements______________________

_____________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

___December 2016______________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X__ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X__ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 2 (Table 4.2.4, BMP #2)

2.	BMP Title:  _ Site Plan Review Procedures___________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City of Auburn is a Local Issuing Authority implementing the Georgia Erosion and Sediment Control Act when it comes to land disturbance.  Site plans are submitted to the NRCS (National Resources Conservation Service) for any land disturbance of one (1.0) or more acres.  City staff also will review plans for implementation of stormwater management requirements for water quality according to the City’s Stormwater Ordinance.  Site plan reviews are completed in accordance with the attached plan review procedure utilizing the most current checklist from “The Manual for Erosion & Sediment Control in Georgia.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

- If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________

- Site Plan Review Status

- Are you a Local Issuing Authority? Yes _X_ No ____

- If yes, provide the following information:

Number of plans reviewed during the reporting period: __2___

Number of plans approved during the reporting period: __2___

Number of plans denied during the reporting period: _________

- Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

___________________________________________________________________________________________________________________________________________

6.	Implementation Schedule

A.  BMP activities completed during this reporting period:  In 2016, two (2) plan reviews were completed using the revised site plan checklist.  Also, there were LDA permits issued for four (4) projects less than an acre – Cathryn Pittman: Septic Line Installation, 6th. Street Dog Park, Sunbelt: Retention Pond and David Thabodeaux: Diseased Tree Removal.

Date(s) for any BMP activities completed during this reporting period:  ___________

___March 2016 thru December 2016______________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

7.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.   Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- 2016 Development Performance Measures (See Tab 4)

- 6th. Street Park Conceptual Plan (See Tab 4)

- LDAs – 6th. Street Dog Park, Cathryn Pittman, Sunbelt Retention Pond, David Thabodeaux

1.	BMP # 3 (Table 4.2.4, BMP #3)

2.	BMP Title:  ___Inspection Program__________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City of Auburn will inspect active construction site for land disturbance activities.  The construction site will be inspected before, during and after initial land disturbance to ensure all Erosion and Sedimentation BMPs have been implemented and in compliance.  Random inspections will be performed by an E&S certified person for stormwater management on construction site.  Inspections will be documented with a report which will contain date and location of inspection, whether construction is in compliance with stormwater management plan and if any changes had occurred from plans.  Additional inspections will be enforced for sediment leaving the site and any other E&S regulations not in compliance such as truck washout and liter.  A copy of all inspection reports will be included in permit.

A.   Did you comply with the measurable goal?  Yes ___ No _X__

B. If not, explain why you did not comply with the measurable goal:  __In 2016 there were no active construction activities in the City of Auburn____________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes ___ No _X_

B.   If not, please explain why: __In 2016 there were no active construction activities in the City of Auburn_______________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  In 2016, two (2) plan reviews were completed using the revised site plan checklist.  __________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes ___   No _X_

D.  If not, please explain why:  __In 2016 there were no active construction activities in the City of Auburn_______________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.   Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Erosion, Sedimentation & Pollution Control Plan Checklists (See Tab 4)

1.	BMP # 4 (Table 4.2.4, BMP #4)

2.	BMP Title:  ___Enforcement Procedures_____________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: Stop work orders issued by City staff to force developers to minimize polluted stormwater runoff and ensure proper management of construction site waste (i.e. discarded building materials, concrete truck washout, chemicals, litter and sanitary waste) will continue to be implemented by the City of Auburn.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes ___ No _X_

B.  If not, please explain why: __There were no Stop Work orders issued during 2016 for any polluted stormwater runoff. _____________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _______________________

___________________________________________________________________________________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

___________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP? _There were no Stop Work orders issued during 2016 for any polluted stormwater runoff. ________________

Yes ___ No _X_

D.  If not, please explain why: _There were no Stop Work orders issued during 2016 for any polluted stormwater runoff. _____________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: ________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 5 (Table 4.2.4, BMP #5)

2.	BMP Title:  ___Complaint Response________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City continues to accept public complaints for any water quality concerns, infrastructure issues, and erosion and sediment control violations.  These complaints were accepted via phone call or through e-mail to the City “Clean Waters” coordinator at (770) 963-4002 or iakridge@cityofauburn-ga.org.  The City developed and maintained a database of all complaints received. Information gathered for the tracking database included:

- Location of complaint

- Contact information of complainant (for additional information)

- Problems observed

- Date of problems

- Backup if available (photos)

- Dates of follow-up County actions (inspections, phone calls)

- Actions taken (warning, violation, fines)

- Date of corrected measures

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City documented and responded to 100% of all complaints received within 2 business days.  Many of the complaints are still pending due to scheduling and funding issues.

B.  Date(s) for any BMP activities completed during this reporting period:  Ongoing____

___________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Documentation of complaints received and work orders (See Tab 4)

- Stormwater Projects/Photos – dates complaints received (See Tab 4)

- Photos (See Tab 4)

1.	BMP # 6 (Table 4.2.4, BMP #6)

2.	BMP Title:  ___Certification________________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City will require any MS4 staff involved in construction activities subject to the Construction General Permits (CGPs) are trained and certified in accordance with the rules adopted by the Georgia Soil and Water Conservation Commission.  The number and type of certifications obtained by MS4 staff will be included in each annual report.

A.   Did you comply with the measurable goal?  Yes _X_ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________ _____________________________________________________________________

Implementation Schedule

A.	BMP activities completed during this reporting period: __Two (2) employees maintain their Level 1B Certifications; recertification is required in 2017 for one employee.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

______________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Erosion & Sedimentation Certification Verifications (See Tab 4)

# Post- Construction Storm Water Management

in New Development and Redevelopment

Minimum Control Measure

(Table 4.2.5)

1.	BMP # 1 (Table 4.2.5, BMP #1)

2.	BMP Title:  ___Legal Authority_____________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: An ordinance for Post Development Stormwater Management in New Development and Redevelopment will be implemented by the City during the course of the permit.  Every year the ordinance will be reviewed to determine if revisions are necessary; if revisions are necessary a copy will be submitted to EPD to be added to the City’s SWMP.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________

4.	Ordinance Status

- Did you adopt or revise the ordinance during the reporting period?

Yes ___ No _X_

- If yes, provide the date of adoption: _________

- Does the ordinance require development in accordance with the Georgia Stormwater Management Manual, a local design manual, and/or the Coastal Stormwater Supplement?  Yes _X_ No ___

- If the ordinance was adopted or revised during the reporting period, is a copy of the adopted ordinance attached?  Yes ___ No ___

- If the ordinance was adopted or revised during the reporting period and a copy is not attached, explain why: __________________________________

_____________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _In 2016 reviews of ordinance were completed and no revision were necessary during this reporting period.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____December 2016____________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

___________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 2 (Table 4.2.5, BMP #2)

2.	BMP Title:  ___Inventory________________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: An inventory of all publically owned post-construction storm water management structures will be provided with each annual report.  After permit issuance the updated inventory of post-construction storm water management structures, including the new structures, will be added to report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

- If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

- Inventory Status

- Provide information on the number of structures inventoried:

- Number of publicly-owned post-construction structures added during the reporting period: ____

- Total number of publicly-owned post-construction structures identified to date: ______1___________

- Number of privately-owned post-construction structures added during the reporting period: ______________

- Total number of privately-owned post-construction structures identified to date: ______2____________

5.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: _____________________________________________

___________________________________________________________________________________________________________________________________________

6.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City inspected three (3) structures designed after December 9, 2008.  _________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  _Ongoing__

____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

___________________________________________________________________________________________________________________________________________

7.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.   Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Spreadsheet of post-construction storm water management structures inspected in 2016 (See Tab 5)

- Stormwater detention pond report of findings for structures/photos (See Tab 5)

1.	BMP # 3 (Table 4.2.5, BMP #3)

2.	BMP Title:  ___Inspection Program_________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: 100% of all certified digital as-built will be collected and evaluated to ensure integration with the City’s GIS and 100% of all Maintenance Agreements will be established of all private stormwater facilities with construction plans approved of the Post-Development Ordinance to ensure long-term maintenance. Documentation of the inspections and any follow-up actions will be reported in each annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes ___ No _X_

B.   If not, please explain why: The City of Auburn has not obtained any certified digital as-built for 2016.  If in the future construction occurs the City will obtain digital as-built and Maintenance Agreements which will be included in annual report.

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _______________________

____________________________________________________________________________________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

___________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes __ No _X_

D.  If not, please explain why: The City of Auburn has not obtained any certified digital as-built for 2016.  If in the future construction occurs the City will obtain digital as-built and Maintenance Agreements which will be included in annual report.

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 4 (Table 4.2.5, BMP #4)

2.	BMP Title:  ___Maintenance Program________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: Copies of inspection reports and maintenance reports addressing maintenance and documentation of maintenance will be submitted with the annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  ____________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

______________________________________________________________________

5.	Implementation Schedule

- BMP activities completed during this reporting period:  ___Completion of the Parks Mill pond modifications to the existing sediment pond to a permanent stormwater facility___________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____May 2016__________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

______________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

______________________________________________________________________

Attached Documentation for BMP Implementation

- Pond report/photos for Parks Mill Ballfield structure (See Tab 5)

- Completed Field Inspection Punch List/Other Documents (See Tab 5)

- Photos (See Tab 5)

1.	BMP # 5 (Table 4.2.5, BMP #5)

2.	BMP Title:  ___GI/LID Structures___________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City does not have an inventory of water quality-related GI/LID structures located within the permitted area but as time progresses the inventory will be developed.  The inventory will include the total number structures, date implemented, and location of each type of structure.

A.   Did you comply with the measurable goal?  Yes ____ No _X__

B.   If not, explain why you did not comply with the measurable goal:  The City does not have an inventory of water quality related GI/LID structures located within the permitted area but as time progresses an inventory will be developed.

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes ___ No _X_

B.	If not, please explain why: The City does not have an inventory of water quality related GI/LID structures located within the permitted area but as time progresses an inventory will be developed.

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _______________________

______________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

______________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes ___ No _X_

D.  If not, please explain why: As new development occurs in the City regulations and procedures will be implemented to promote sound stormwater management practices.

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

- Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

Pollution Prevention/ Good Housekeeping

for Municipal Operations

Minimum Control Measure

(Table 4.2.6)

1.	BMP # 1 (Table 4.2.6, BMP #1)

2.	BMP Title:  ___MS4 Control Structure Inventory and Map________________

3.	Provide the measurable goal from the Permit and/or approved SWMP:

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  ____________________________________________________________________________________________________________________________________________

- Inventory and Map Status

- Provide information on the number of structures inventoried and mapped:

- Number of catch basins added during the reporting period: __0____

- Total number of catch basins identified to date: ____141_________

- Number of ditches added during the reporting period (state if miles or linear feet): ___0________

- Total number of ditches identified to date (state if miles or linear feet): 58.5744 miles

- Number of publicly-owned detention/retention ponds added during the reporting period: __0____

6. Total number of publicly-owned detention/retention ponds identified to date: _1____

7.	Number of storm drain lines added during the reporting period (state if miles or linear feet): _____0________

8.	Total number of storm drain lines identified to date (state if miles or linear feet): _Unknown.

- Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.   If not, please explain why: ______________________________________________ ____________________________________________________________________________________________________________________________________________

6.	Implementation Schedule

- BMP activities completed during this reporting period:  ____________________________________________________________________________________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

7.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Inventory and Field Map (See Tab 3)

1.	BMP # 2 (Table 4.2.6, BMP #2)

2.	BMP Title:  ___MS4 Inspection Program_____________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP:  An inspection will be conducted on the MS4 control structures so that 100% of the structures are inspected within a 5-year period.  The MS4 inspections will be performed utilizing the updated map to inspect at least 20% per year.

The number and percentage of structures inspected during the reporting period will be provided in the annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  ____________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

- If not, please explain why: ______________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  The City inventoried 60 stormwater outfalls March 2016 through August 2016.  The goals of 20% of all identified outfalls were met with no illicit discharges from dry weather outfall screenings. Also, April 2016 and September 2016 the City inspected three (3) structures designed after December 9, 2008.  _____________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Spreadsheet showing all Dry Weather Outfall Screenings completed in 2016 (See Tab 3)

- Spreadsheet of post-construction storm water management structures inspected in 2016 (See Tab 5)

1.	BMP # 3 (Table 4.2.6, BMP #3)

2.	BMP Title:  ___MS4 Maintenance Program___________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP:  Maintenance will be conducted on the MS4 control structures as needed. The number of each type of structure maintained during the reporting period will be submitted in the annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.  If not, please explain why: ______________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  Maintenance on several control structures were conducted in 2016 such as storm culvert repairs, cleaning and repairs to open ditches, vegetation control, debris and litter control removal, right-of-way cleanup, were on-going and performed continuously throughout the year.  The City of Auburn’s Public Work Department is responsible for maintenance of all stormwater facilities and infrastructures located in public right-of-ways.  Work Orders were created for maintenance and corrections.

B.  Date(s) for any BMP activities completed during this reporting period:  Ongoing 2016

______________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Work Orders Completed by Public Works Department (See Tab 6)

1.	BMP # 4 (Table 4.2.6, BMP #4)

2.	BMP Title:  ___Street and Parking Lot Cleaning_______________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City utilizes its RTC’s (Residents of Transitional Center – inmates), public works department and community service labor to collect trash and litter along streets and public right-of-ways.  All major and secondary streets are cleaned weekly.  Major highways are cleaned at least once monthly.

The City does not clean parking lots but through the City Litter Ordinance businesses are required at all times to keep the premises clean of all litter and are required to take measures including daily cleanup of the premises to prevent litter from being carried by the elements to adjoining premises.

The goal of approximately 16 miles of street are to be cleaned weekly and the amount of debris collected which will be reported by volume.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.  If not, please explain why: ______________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A. BMP activities completed during this reporting period:  The Public Works Department, RTCs (Residents of Transitional Center – inmates) and Community Service Volunteers picked up trash along the road throughout the City in areas such as Mary Carter Road (Ball Field), Appalachee Church Road, Parks Mill Road, Autry Road, Mt. Moriah Road, Carter Road, Kilcrease Road, Browns Bridge Road and Highway 8 throughout the year.  11,599 pounds of cans, bottles, paper, dead animals, boards, tires, steel and other items were collected and disposed in the Barrow County Landfill.

B.  Date(s) for any BMP activities completed during this reporting period:  Ongoing 2016

____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Trash/Roadside Cleanup Work Orders and field sheets completed by the Auburn Public Works Department and RTCs (See Tab 6)

1.	BMP # 5 (Table 4.2.6, BMP #5)

2.	BMP Title:  ___Employee Training___________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: Once per year, a training workshop will be held for all public works / parks & leisure employees and managers.

The training session occurrence will be recorded with a list of all attendees. The attendee list along with the department attendees will be submitted with the annual report.

A.   Did you comply with the measurable goal?  Yes ___ No _X__

B. If not, explain why you did not comply with the measurable goal:  Training was not held due to I was out of the office due to illness from October 14 until end of December and there was no other person knowledgeable of materials. __________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes ___ No _X_

B.  If not, please explain why: No information to offer and no one knowledgeable of materials______________________________________________________________

______________________________________________________________________

5.	Implementation Schedule

A. BMP activities completed during this reporting period:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____________________ _________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes ___ No _X_

D.  If not, please explain why:  Training was not held due to I was out of the office due to illness from October 14 until end of December and there was no other person knowledgeable of materials to present to employees. ___________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

1.	BMP # 6 (Table 4.2.6, BMP #6)

2.	BMP Title:  ___Waste Disposal____________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: Waste removal tracking procedures will be implemented to track the amount of waste collected and removed from the MS4.  The City will determine how each area of recyclable waste stream is disposed of.  This will be accomplished by breaking the recyclable waste stream into the following categories:

- Antifreeze

- Battery

- Electronics

- Junk

- Metal

- Oil

- Tires

Each and every year the amount of recyclable waste stream will be documented into which it was disposed of (i.e. how many pounds of metal, gallons of oil, tons of electronics, etc.).

100% of the amount of waste generated will be tracked and the amount disposed of to the landfill will be included with the annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.  If not, please explain why: ___________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:   The amount of waste generated between the two major cleanup events were 330 tires; 9052 pounds of electronics; 838 pounds of batteries; 400 gallons of used oil; 20 gallons of diesel;10 gallons of antifreeze; 4.234 tons of scrap metal; and 20.82 tons of junk in which the majority of items were recycled through private companies.  The 20.82 tons of junk were disposed of in the Barrow County landfill.

B.  Date(s) for any BMP activities completed during this reporting period:  Ongoing ____________________________________________________________________________________________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X__

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Detailed information on the type and amount of material collected and recycled from the Earth Day event (See Tab 2)

- Detailed information on the type and amount of material collected and recycled from the Great American event (See Tab 2)

- Trash/Roadside Cleanup Work Orders and field sheets completed by the Auburn Public Works Department and RTCs (See Tab 6)

1.	BMP # 7 (Table 4.2.6, BMP #7)

2.	BMP Title:  ___New Flood Management Projects_____________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: Flood management projects will be assessed to incorporate water quality devices required of all new development pertaining to the Post Construction Stormwater Management.  The City will confirm all new flood management projects to ensure water quality and measurements impacted will be warranted.

The number of plans reviewed where flood management projects were assessed for water quality impacts during the reporting period in each annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  _The City of Auburn reviewed two (2) flood management project for the year 2016._____________________________

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

____June 2016 and November 2106________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes __ No _X_

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Erosion, Sedimentation & Pollution Control Plan Checklist (See Tab 4)

1.	BMP # 8 (Table 4.2.6, BMP #8)

2.	BMP Title:  ___Existing Flood Management Projects___________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City only has one publicly owned flood management pond at this time. The pond will be assessed to determine the best means of retrofitting to water quality standards.  In the future the number of assessments made during the year will be submitted with annual report.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  _________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.  If not, please explain why: ______________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  A proposal for professional services to provide improvements at the City’s Parks Mill Road Baseball Fields/Pond were implemented and completed in 2016.   Modifications to the existing sediment pond at Parks Mill Road were completed and converted into a permanent stormwater management facility.

B.  Date(s) for any BMP activities completed during this reporting period:  ___________

__January 2016 to May 2016______________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ____

D.  If not, please explain why: ______________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.	Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X__

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Completed Field Inspection Punch List/Other Documents (See Tab 5)

- Photos (See Tab 5)

1.	BMP # 9 (Table 4.2.6, BMP #9)

2.	BMP Title:  ___Municipal Facilities_________________________________

3.	Provide the measurable goal from the Permit and/or approved SWMP: The City will develop a municipal facility inventory of each facility owned and/or maintained by the City with the potential to cause pollution.  As part of this BMP, the City will implement an inspection program for the facilities to identify and address potential pollution sources.  An inventory will be developed within the first year of the permit.  Inspection for any potential pollution will be identified for each facility and will be established with a scheduled date.  It is the intent to ensure 100% of all City facilities are inspected prior to December 2017.

Development of an inventory of all facilities owned and maintained by the City which may have the potential to cause pollution; inventory will be updated annually; inspection program to be implemented for all City facilities such that 100% of the facilities are inspected according to the schedule established in the inventory and prior to December 2017.

A.   Did you comply with the measurable goal?  Yes _X__ No ____

B. If not, explain why you did not comply with the measurable goal:  __________________________________________________________________________________________________________________________________________________________________________________________________________________

4.	Documentation

A.  Did you attach documentation of the BMP activities completed during the reporting period? Yes _X_ No ___

B.	If not, please explain why: ___________________________________________

____________________________________________________________________________________________________________________________________________

5.	Implementation Schedule

A.  BMP activities completed during this reporting period:  Inspection of Public Works facility was performed on October 11, 2016.  Overall, there were no types of violations found at facility.

B.  Date(s) for any BMP activities completed during this reporting period:                                                                         October 11, 2016________________________________________________________

C.  Did you comply with the implementation schedule in the SWMP?

Yes _X_ No ___

D.  If not, please explain why:  _____________________________________________

____________________________________________________________________________________________________________________________________________

6.	BMP Effectiveness

A.  Do you consider this BMP to be effective? Yes _X_ No ___

B.  Do you plan to continue with implementation of this BMP or revise it in the SWMP?

Continue _X_ Revise ____

C. Do you plan to revise the BMP description, implementation schedule, or measurable goal for this BMP?

Yes ___ No _X_

D.  If yes, please explain: _________________________________________________

____________________________________________________________________________________________________________________________________________

Attached Documentation for BMP Implementation

- Municipal Facility Inspection Inventory (See Tab 6)

- Municipal Facility Inspection for Public Works Facility (See Tab 6)

Enforcement Response Plan

Section 4.3

- You are required to develop an Enforcement Response Plan (ERP) and submit the document to EPD by February 15, 2015.  Have you completed ERP development?  Yes _X_ No ___

- If yes, provide the date of submittal to EPD: _February 2015_

- If no, provide the status of the ERP development: Enforcement procedures have been implemented into City ordinances for violations of the SWMP.

Impaired Waters

Section 4.4

1.	You are required to develop either an Impaired Waters Plan (population <10,000) or a Monitoring and Implementation Plan (population >10,000).  Check which one you are required to develop:

____ Impaired Waters Plan

____ Monitoring and Implementation Plan

2.	For existing permittees, you are required to submit the relevant Plan to EPD by February 15, 2015.  Have you completed development of the Plan? Yes ___ No _X__

- If yes, provide the date of submittal to EPD: _____________

- If no, provide the status of the Plan development: The City of Auburn does not have any Impaired (303(d)) Waters located within or near city boundaries.  Nevertheless, the City will ensure that all municipal development projects meet all stormwater ordinances, are assessed for water quality impacts and cause no impact to local streams. However, the list will be reviewed again in 2017 when it is available and a plan will be prepared at that time, if necessary.

Sharing Responsibility

Section 4.5

- Are you sharing responsibility for implementation of any part of the SWMP with another entity?  Yes _X_ No ___

- If yes, provide the name of the entity: __Barrow County Environmental Health_____

- Are you performing tasks for another entity? Yes ___ No _X_

- Is another entity is performing tasks on your behalf? Yes _X_ No___

- If you answered “Yes” to either question #3 or #4, describe what tasks are being performed by which entity: The Barrow Co. Environmental Health enforces the City of Auburn’s On-Site Sewage Management.  August 2, 2001, an ordinance was adopted in which the City specifies Barrow Co. Environmental Health to inspect and regulate septic within the city limits under the Rules of the State of Georgia.

- You must provide a copy of a signed intergovernmental agreement.  Was an agreement included with the SWMP? Yes _X_ No ____